SAMPLE SUBMISSION FORM - WASTE MATERIALS

Company:	                                                      			P.O. #:	__________________

Tel:	__________________

Fax:	__________________

Report To:	                                                      			Email: ___________________

Results Required by:                                                 	Rush Service:                    	Regular Service:

| Client Sample ID: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Lab Ref: |  |  |  |  |  |
| Sample Type (Oil, Soil, Water, etc) | Low Limit/ units |  |  |  |  |
| Ash, ASTM D482 | %wt |  |  |  |  |
| Density, ASTM D1298 | kg/L |  |  |  |  |
| *Elements, (ASTM D5185) Arsenic Cadmium Chromium Lead | <5 mg/L <1 mg/L <2 mg/L <5 mg/L |  |  |  |  |
| Flash Point (Screen), ASTM D3828 | <23 or >61°C |  |  |  |  |
| Heat Content, ASTM D240 | <1000 BTU/lb |  |  |  |  |
| *Organic Halogen, (EPA 9076) | <300 mg/L |  |  |  |  |
| *PCB, ASTM mod D4059 | <2 mg/L |  |  |  |  |
| Viscosity, ASTM D445 at 40°C | cSt. |  |  |  |  |
| Water, ASTM D4377 or D95 | <0.1 % wt |  |  |  |  |
| Water & Sediment, ASTM D1796 | <0.1 %v/v |  |  |  |  |
| *BC Waste Oil Guidelines package |  |  |  |  |  |

* indicates test required for the B.C. Provincial Waste Oil Guidelines - Burning Specification

Submitted By:                                     	Company:                                                      	Date:    ________________

Received By:                                      	Company:                                                      	Date:    ________________

Lab Reference: